## BOQ
[Bidder's Letterhead]
[Date]
To: Tarlac State University
Re: [Invitation to Bid No.]
BILL OF QUANTITIES
Item No. | Work Description | Materials, supplies, etc. |  | Work Item |  | Direct Cost | Indirect Cost | Total Direct & Indirect Cost | Value Added Tax | Total Cost
[6 empty] | Materials, Labor, & Equipment | Overhead, Contingencies, Miscellaneous, & Profit
|  | Quantity | Unit | Quantity | Unit
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
1 | General Requirements
1.1 | Mobilization & Demobilization |  |  | 1 | lot
1.2 | Construction Occupational Safety & Health |  |  | 1 | lot
1.3 | Temporary Facilities, Billboard and Barricade |  |  | 1 | lot
1.4 | Permit and Clearances |  |  | 1 | lot
1.5 | Cleaning and Derusting of Existing Column Reinforcement |  |  | 1 | lot
1.6 | Demolition of Existing Portion of Pathway and Fence, Hauling of Debris and all affected areas |  |  | 1 | lot
Sub-Total
2 | Earthworks
2.1 | Clearing , Grubbing and Hauling of Debris |  |  | 1 | lot
2.2 | Site Preparation and Soil Embankment with Compaction |  |  | 1 | lot
Sub-Total
3 | Structural Works
3.1 | Columns |  |  | 90.618 | m³
3.2 | 3rd Floor Beams |  |  | 81.21 | m³
3.3 | 3rd Floor Suspended Slab |  |  | 87.13 | m³
3.4 | Roof Beams |  |  | 51.3918 | m³
3.5 | Roof Suspended Slab |  |  | 20.8937 | m³
3.6 | Pump Room Footing and Wall Footing |  |  | 2.6356 | m³
3.7 | Slab on Grade |  |  | 2.0625 | m³
3.8 | Roadway |  |  | 193.6704 | m³
3.9 | Stair Case |  |  | 5.93 | m³
3.1 | Stiffener Column, Lintel Beam, Ledges, Parking Curb and Cantilever Plantboxes |  |  | 24.6598 | m³
3.11 | Trusses |  |  | 1 | lot
3.12 | Fire Exit Stair |  |  | 1 | lot
3.13 | Pathway Cover |  |  | 1 | lot
Sub-Total
4 | Architectural Works
4.1 | Masonry Works
4.1.1 | 5" CHB Wall Systeml(including tie wire, mortar and 10 mm ∅ steel reinforcement every three layer of CHB layer and 0.60 m vertical spacing) |  |  | 156.816 | m²
4.1.2 | 4" CHB Wall System(including tie wire, mortar and 10 mm ∅ steel reinforcement every three layer of CHB layer and 0.60 m vertical spacing) |  |  | 2114.146 | m²
4.1.3 | Cement Plastering of Interior and Exterior: Walls, Beams, Columns, Lintel Beams, Stair, Window & Door Openings, Mouldings etc. |  |  | 9218.6046 | m²
Sub-Total
4.2 | Roofing Materials
4.2.1. | 0.50 mm thick Prepainted Longspan Rib Type Roofing (White) including consumables (tekscrew, blind rivets, sealant etc.) |  |  | 1 | lot
4.2.2. | 0.50 mm thick x 24" Prepainted G.I Sheet Flashing (White) including consumables (tekscrew, blind rivets, sealant etc.) |  |  | 1 | lot
4.2.3. | 0.50 mm thick x 48" Pre-painted G.I Sheet Gutter (White) including consumables (tekscrew, blind rivets, sealant etc.) |  |  | 1 | lot
Sub-Total
4.3. | Green Wall |  |  | 1 | lot
4.4 | Stair,Pump Room,PWD Ramp,Corridor and AVR Railings |  |  | 1 | lot
4.5 | Ceiling and Cladding Works
4.5.1. | 15.0 mm thick Fine Fissured Acoustic Board Ceiling on Framing System with complete accessories |  |  | 1010.905 | m²
4.5.2. | 4.50 mm thick Fiber Cement Board Ceiling on Metal Furring Framing System with complete accessories |  |  | 455.2875 | m²
4.5.3. | 9.0 mm thick Gypsum Board on Metal Furring Framing System with complete accessories. |  |  | 205.4745 | m²
4.5.4. | 9.0 mm thick Gypsum Board on Metal Stud Framing for Transition Trim with complete accessories. |  |  | 38.28 | m²
4.5.5. | Wood Laminated Finish on 9 mm thick Gypsum Board on Framing System with complete accessories |  |  | 8.888 | m²
4.5.6. | 9.0 mm thick Gypsum Board on Metal Stud Framing for Curve Ceiling with complete accessories |  |  | 37.345 | m²
4.5.7. | Araal Stone Wall Cladding including adhesive, grout, and consumables |  |  | 64.24 | m²
4.5.8. | 5.0 cm Embossed Concrete with wire mesh and 20 mm x 10 mm Groove Design Spaced at 0.60 m O.C Both Ways (including surface preparation, primer and top coats) |  |  | 37.84 | m²
Sub-Total
4.6 | Painting
4.6.1. | Semi-Gloss Latex Paint Finish on Walls, Columns, Beams, Slab and Stairs Soffit, Ceiling, Mouldings, Concrete Ledge and Plant Box (surface preparation, primer and top coats) |  |  | 10291.2806 | m²
4.6.2. | Flat Latex Paint Finish on Ceiling(surface preparation, primer and top coats) |  |  | 660.762 | m²
4.6.3. | Enamel Paint Finish for all steel members (surface preparation, primer and top coats) |  |  | 982.4985 | m²
Sub-Total
4.7 | Wall and Floor Finish
4.7.1. | 0.30 m x 0. 60m Porcelain Accent Wall Tiles (White) including tile adhesive, tile grout,etc |  |  | 231.384 | m²
4.7.2. | 0.30m x 0.60m Porcelain Accent Wall Accent Tiles (Gray) including tile adhesive, tile grout,etc |  |  | 115.692 | m²
4.7.3. | 0.20 m x 1.00 m Glazed Ceramic Floor Tiles(Wood Pattern) including tile adhesive, tile grout and topping |  |  | 684.0075 | m²
4.7.4. | 0.60 m x 0.60 m Porcelain Floor Tiles (Non-Skid-Gray) including tile adhesive, tile grout and topping |  |  | 182.556 | m²
4.7.5. | #10 Wash Pebbles with Anti-Skid Aluminum Stair Nosing |  |  | 94.6 | m²
4.7.6. | Smooth Cement Floor Finish (topping including wire mesh) |  |  | 1299.2238 | m²
4.7.7. | Waterproofing for Comfort Rooms and 0.30 m interior wall on Comfort Rooms (surface preparation, appplication of 3 coats of cementitious waterproofing) |  |  | 246.1866 | m²
4.7.8. | Waterproofing for Second Floor Canopy, Concrete Gutter and Elevator Roof Slab (surface preparation, appplication of 5 coats of cementitious waterproofing) |  |  | 266.321 | m²
Sub-Total
4.8 | Elevated Platform
4.8.1. | Elevated Platform for Lecture Rooms made of 3/4" thick Marine Plywood with 150 mm x 900 mm Vinyl Tiles including adhesive on 50 mm x 150 mm x 1.5 mm thick G.I. C-Purlins Welded Framing System and 1 1/2"x 1 1/2" x 4 mm thick Angle Bar Framing (Primer Painted), Brown Rubber Nosing and consumables |  |  | 420.5 | m²
4.8.2. | Elevated Platform for Audio Visual Room made of 3/4" thick Marine Plywood with 150 mm x 900 mm Vinyl Tiles and Anti-Slip Polyester Vinyl Carpet(striped pattern) including adhesive on 50 mm x 150 mm x 1.5 mm thick G.I. C-Purlins Welded Framing System and 1 1/2"x 1 1/2" x 4 mm thick Angle Bar Framing (Primer Painted), Aluminum Stair Nosing with Black Rubber and consumables |  |  | 100.7 | m²
4.8.3. | Elevated Platform for Audio Visual Room Stage made of 3/4" thk. Marine Plywood with 150 mm x 900 mm Vinyl Tiles (angled at 45 degrees) including adhesive on 50mm x 100 mm x 1.5 mm thick G.I. C-Purlins Welded Framing System, Aluminum Stair Nosing with Black Rubber and consumables |  |  | 37.525 | m²
4.8.4. | Elevated Platform for Computer Rooms made of 3/4" thick Marine Plywood with 150 mm x 900 mm Vinyl Tiles including adhesive on 50 mm x 150 mm x 1.5 mm thick G.I. C-Purlins Welded Framing System, Aluminum Stair Nosing with Black Rubber and consumables |  |  | 129.5 | m²
Sub-Total
4.9 | Doors
4.9.1. | D1- Single Swing Steel Door and Jamb with Transom Window and Peep window made of 6.00 mm thick Tempered Bronze Glass , 12 mm Ø plain bar grills, Stainless Steel Dome Type Door Knob with Dead Bolt Lock, Heavy Duty Hinges and complete accessories (including surface preparation, primer and at least 2 top coats) |  |  | 31 | set
4.9.2. | D2- Seamless Wooden Flush Door with 9 mm thick Diamond cut polyester acoustic panel (beveled edges) made of 100% pet(polyethelene terephthalate) on face aligned from acoustic panel patition, Self closing double action spring hinge and complete accessories |  |  | 2 | set
4.9.3. | D3- Double Panel Steel Door with Metal Jamb, Stainless Steel Lever Type Door Knob with Dead Bolt Lock, Heavy Duty Hinges and complete accessories (including surface preparation, primer and at least 2 top coats) |  |  | 2 | set
4.9.4. | D4- Single Swing Tanguile Wooden Panel Door and Jamb with S304 Stainless Steel Kick Plate and Vinyl Sticker Signage, Stainless Steel Lever Type Door Knob, Heavy Duty Hinges and complete accessories (including surface preparation, primer and at least 2 top coats) |  |  | 1 | set
4.9.5. | D5- 1.00 m x 2.10 m x 0.50 mm thick Single Swing Steel Door and Jamb with Panic Door Device and Door Closer, Heavy Duty Hinges and complete accessories(including surface preparation, primer and at least 2 top coats) |  |  | 2 | set
4.9.6. | D6- Single Swing Tanguile Wooden Panel Door and Jamb with Louver, Stainless Steel Dome Type Door Knob, Heavy Duty Hinges and complete accessories (including surface preparation, primer and at least 2 top coats) |  |  | 2 | set
4.9.7. | D7- 0.70 m x 2.10 m Steel Louver Door and Jamb, Dome Type Door Knob with Dead Bolt Lock, Heavy Duty Hinges and complete accessories (including surface preparation, primer and at least 2 top coats) |  |  | 3 | set
4.9.8. | D8- 6 mm thick one way reflective tempered bronze glass(interior) on White Powder Coated Aluminum Sliding Door with Transom Window and complete accessories |  |  | 2 | set
4.9.9. | D9- 6 mm thick two way reflective tempered bronze glass(interior) on White Powder Coated Aluminum Sliding Door with Transom Window and complete accessories |  |  | 2 | set
4.9.10. | D10- Folding Louver Steel Door, Heavy Duty 1" Cylindrical Hinges and complete accessories and complete accessories(including surface preparation, primer and at least 2 top coats) |  |  | 1 | set
Sub-Total
4.1 | Windows
4.10.1. | W1- 6 mm thick one way reflective tempered bronze glass (exterior) on White Powder Coated aluminum awning window and complete accessories. |  |  | 41 | set
4.10.2. | W2- 6 mm thick one way reflective tempered bronze glass(interior) on White Powder Coated aluminum fixed window and complete accessories. |  |  | 22 | set
4.10.3. | W3- 6 mm thick one way reflective tempered bronze glass(exterior) on White Powder Coated aluminum awning window and complete accessories. |  |  | 5 | set
4.10.4. | W4- 6 mm thick one way reflective tempered bronze glass(exterior) on White Powder Coated aluminum awning window and complete accessories. |  |  | 7 | set
Sub-Total
4.11 | Partition
4.11.1. | Partition Wall for AVR Stage made of 9.0 mm thick Ficem Board on Metal Stud Framing System with 9.0 mm thick Diamond Cut Polyester Acoustic Panel Bevelled Edge for the Front Stage Area made of 100% Polyethylene Terephthalate including adhesives and complete accessories |  |  | 13.86 | m²
4.11.2. | Partition Wall for AVR Stage made of 9.0 mm thick Ficem Board on Metal Stud Framing System including 0.90 m x 4.80 m Wainscot (Wood Laminated Finish), 18 mm thick White Melamine Laminated High Gloss MDF Board with White Powder Coated 3/4" x 3/4" Aluminum Angular (Perimeter) and complete accessories |  |  | 16.675 | m²
4.11.3. | Fabrication and Installation of 12 mm thick Waterproof Compact Laminated Cubicle Partition with 0.60 m door including hinges, lock indicatior, bottom support, door knob, aluminum headrail and complete accessories. |  |  | 21 | set
4.11.4. | 400 mm x 900 mm x 12 mm thick Waterproof Compact Laminated Board Wall Urinal Partition with complete accessories |  |  | 11 | set
4.11.5. | Pipechase Drywall w/ Access Door on Metal Framing System with complete accessories |  |  | 6 | set
4.11.6. | Drywall Partition at Lecture Rooms made of 4.5 mm thick Ficem Board with 2" x 4" x 1.5 mm thick Tubular Framing System with complete accessories |  |  | 6 | set
Sub-Total
4.12 | Furnishings
4.12.1. | 2.00 m Ø Stainless Steel with CPAG Logo - heavy duty hairline stainless gauge #18, 2" build up sidings and stainless pin mounted with backlight and golden yellow stainless sticker (waterproof led strip smd module with power supply) with Led Back Light (Daylight) |  |  | 1 | set
4.12.2. | 0.45 m Stainless Steel "CPAG BLDG" Lettering (font: calibri) - heavy duty hairline stainless gauge #18, 2" build up sidings and stainless pin mounted (waterproof led strip smd module with power supply) with Led Back Light (Daylight) |  |  | 1 | set
4.12.3. | 0.42 m Stainless Steel "TARLAC STATE UNIVERSITY" Lettering (font: calibri) - heavy duty hairline stainless gauge #18, 2" build up sidings and stainless pin mounted |  |  | 2 | set
4.12.4. | 0.32 m Stainless Steel "COLLEGE OF PUBLIC ADMINISTRATION AND GOVERNANCE" Lettering (font: calibri) - heavy duty hairline stainless gauge #18, 2" build up sidings and stainless pin mounted |  |  | 2 | set
4.12.5. | Fabrication and Installation of Wainscot and Whiteboard made of Sliding 18 mm thick White Melamine Laminated High-Gloss MDF board w/ White Powder Coated 3/4" x 3/4" Aluminum Angular(perimeter) including 8 sets of heavy duty rollers, Roller Guide, and G.I. Hanger on 3/4" thk. Marine Plywood with 2"x 2" S4S Kiln Dried Wood Framing and 1" x 4" S4S Kiln Dried Wood Moulding and complete accessories (surface preparation, primer and at least 2 top coats) for Lecture Room 1,2,3,4,7, & 8 |  |  | 6 | set
4.12.6. | Fabrication and Installation of Wainscot and Whiteboard made of Sliding 18 mm thick White Melamine Laminated High-Gloss MDF board w/ White Powder Coated 3/4" x 3/4" Aluminum Angular(perimeter) including 8 sets of heavy duty rollers, Roller Guide, and G.I. Hanger on 3/4" thick Marine Plywood with 2"x 2" S4S Kiln Dried Wood Framing and 1" x 4" S4S Kiln Dried Wood Moulding and complete accessories (surface preparation, primer and at least 2 top coats) for Lecture Room 5,6,9, & 10 |  |  | 4 | set
4.12.7. | 2-12 mm Round bar Hanger Bolted/Welded to Roof Truss with Mount Bracket and complete accessories |  |  | 4 | set
4.12.8. | Proportioned Lettering on 0.15 m x 0.45 m x 3 mm thick Acrylic clear Glass Room Signage with 2-8 mm x 17 mm Acrylic Glass fixing bolt screws |  |  | 45 | set
Sub-Total
4.13 | Landscaping Works
4.13.1. | Plant Box |  |  | 48.6136 | m³
4.13.2. | Ground Floor Step and Slab |  |  | 22.2736 | m³
4.13.3. | PWD Ramp |  |  | 20.1713 | m³
4.13.4. | Walkway (Stamped Concrete Finish) |  |  | 28.979 | m³
4.13.5. | Parking Area (Broom Finish) |  |  | 124.0612 | m³
4.13.6. | Pavement Finishes
4.13.6.1. | Decorative Pavers on Compacted Sand with Concrete Stopper |  |  | 266.13 | m²
4.13.6.2. | 1" Ø Diameter White Pebbles |  |  | 35.67 | m²
4.13.7. | Plants |  |  | 1 | lot
4.13.7.1. | Ivy Plant including fertilizers | 220 | pc
4.13.7.2. | 16" Ø Ball Eugenia Myrtifolia including fertilizers | 10 | pc
4.13.7.3. | Golden Miagos Bush including fertilizers | 37 | pc
4.13.7.4. | 10ft tall Foxtail Palm Tree including fertilizers | 17 | pc
4.13.7.5. | Dendrolobium umbellatum including fertilizers | 85 | pc
4.13.7.6. | 5ft tall Podocarpus Plants including fertilizers | 9 | pc
4.13.7.7. | Bermuda Grass including fertilizers | 1800.6113 | m²
4.13.7.8. | Fertilizers | 1 | lot
Sub-Total
5 | Electrical Works
5.1 | Lighting Fixtures |  |  | 1 | lot
5.1.1. | 12 Watts LED Square Panel Light Recessed Mounted [Daylight] | 36 | set
5.1.2. | 12 Watts LED Round Panel Light Recessed Mounted [Daylight] | 110 | set
5.1.3. | 48W LED Panel Light [Daylight] | 136 | set
5.1.4. | 12W LED Square Pinlight Surface Mounted [Daylight] | 18 | set
5.1.5. | 1 X 18 Watts T8 LED Tube Light in Louver Fixture Surface Mounted [Daylight] | 92 | set
5.1.6. | 3 Watts Recessed LED Emergency Light [Ceiling Mounted] | 39 | set
5.1.7. | LED Emergency Light with One Gang Universal Outlet | 7 | set
5.1.8. | LED Emergency Signage | 5 | set
5.1.9. | 10W LED Floodlight IP65 | 27 | set
5.1.10. | 8 ft double light Lamp post antique design including 12W LED bulbs, concrete pedestal with reinforcement, anchor bolt and nut, base plate, and smooth cement painted finish | 14 | set
5.1.11. | Ceiling Fan with Speed controller | 65 | set
5.1.12. | Neon LED Strip IP65 Flexible Light (10 meter) with Power Adapter [Warmwhite] | 15 | set
5.1.13. | 1 meter Track Rail with 4pcs of 10 Watts Track Lights [Daylight] | 2 | set
5.1.14. | 1 -Gang Switch Wide Series with LED | 35 | set
5.1.15. | 2-Gang Switch Wide Series with LED | 19 | set
5.1.16. | 3-Gang Switch Wide Series with LED | 17 | set
5.1.17. | 3-Way 1-Gang Switch Wide Series with LED | 4 | set
5.1.18. | 4-Way 1-Gang Switch Wide Series with LED | 2 | set
5.1.19. | 3.5 mm² Cu. THHN/THWN (STR) | 50 | box
5.1.20. | 3/4" φ PVC Conduit | 966 | pc
5.1.21. | 5" x 5" PVC Square Junction box with cover | 40 | set
5.1.22. | 4" x 4" PVC Junction box with cover | 600 | set
5.1.23. | 2" x 4" PVC Utility box with cover | 150 | set
5.2 | Power Outlet System |  |  | 1 | lot
5.2.1. | Universal Duplex Convenience Outlet | 192 | set
5.2.2. | Floor Mounted Universal Duplex Convenience Outlet | 56 | set
5.2.3. | 3.5 mm² Cu. THHN/THWN (STR) | 34 | box
5.2.4. | 3/4" φ PVC Conduit | 562 | pc
5.2.5. | 2" x 4" PVC Utility box with cover | 200 | pc
5.3 | Air-Conditioning Power Layout |  |  | 1 | lot
5.3.1. | 32 AT, 2 Pole Miniature Circuit Breaker in NEMA 3R Enclosure | 38 | set
5.3.2. | 5.5 mm² Cu. THHN/THWN (STR) | 12 | box
5.3.3. | 3.5 mm² Cu. THHN/THWN (STR) | 12 | box
5.3.4. | 1" φ PVC Conduit | 250 | pc
5.3.5. | 4" x 4" PVC Junction box with cover | 40 | pc
5.3.6. | 5" x 5" PVC Square Pullbox with cover | 10 | pc
5.4 | Fire Detection and Alarm System |  |  | 1 | lot
5.4.1. | 4 Zone Fire Alarm Cotrol Panel | 1 | set
5.4.2. | Conventional Smoke Detector | 32 | set
5.4.3. | Conventional 6" Fire Alarm Bell | 6 | set
5.4.4. | Conventional Resettable Manual Call Point | 6 | set
5.4.5. | 1.25 mm² Cu. TF Wire (STR) (150m per roll) | 5 | roll
5.4.6. | 1/2" φ PVC Conduit | 82 | pc
5.4.7. | 4" x 4" PVC Junction box with cover | 38 | pc
5.4.8. | 2" x 4" PVC Utility box with cover | 6 | pc
5.4.9. | 5" x 5" PVC Square Pullbox with cover | 5 | pc
5.5 | Structure Cabling Layout |  |  | 1 | lot
5.5.1. | CAT6 UTP Cable | 7 | box
5.5.2. | Blank Plate with mounting screw | 50 | set
5.5.3. | 2-Gang CAT6 Floor Mounted Data Outlet | 32 | set
5.5.4. | 1/2" φ PVC Conduit | 38 | pc
5.5.5. | 3/4" φ PVC Conduit | 90 | pc
5.5.6. | 1" φ PVC Conduit | 54 | pc
5.5.7. | 4" x 4" PVC Junction box | 10 | pc
5.5.8. | 2" x 4" PVC Utility box | 50 | pc
5.5.9. | 5" x 5" PVC Square Pullbox with cover | 10 | pc
5.5.10. | 3" X 5" X 24" Electrical Metal Pullbox | 5 | set
5.6 | Closed-Circuit Television Layout |  |  | 1 | lot
5.6.1. | CAT6 UTP Cable (305 meter/box) | 7 | box
5.6.2. | Blank Plate with mounting screw | 40 | set
5.6.3. | 3/4" φ PVC Conduit | 62 | pc
5.6.4. | 1" φ PVC Conduit | 64 | pc
5.6.5. | 4" x 2" PVC Utility Box | 40 | set
5.6.6. | 3" X 5" X 24" Electrical Metal Pullbox | 1 | set
5.7 | Electrical Equipment Room and Feeder Lines |  |  | 1 | lot
5.7.1. | MDP Main: 400AT MCCB, 3 Pole, 230V Branches: 1 - 30AT MCCB, 3 Pole, 230 V 1 - 50AT MCCB, 3 Pole, 230 V 1 - 70AT MCCB, 3 Pole, 230 V 1 - 100AT MCCB, 3 Pole, 230 V 1 - 150AT MCCB, 3 Pole, 230 V SPARE: 1 with busbar, grounding busbar, mechanical lugs, dead front, and accessories in NEMA-1 Enclosure | 1 | set
5.7.2. | LP MAIN Main: 50AT MCCB, 3 Pole, 230V Branches: 3 - 30AT MCCB, 3 Pole, 230 V SPARE: 1 with busbar, grounding busbar, mechanical lugs, dead front, and accessories in NEMA-1 Enclosure | 1 | set
5.7.3. | LP1, LP2, and LP3 Main: 30AT MCCB, 3 Pole, 230V Branches: 12 - 20AT MCCB, 2 Pole, 230 V with busbar, grounding busbar, mechanical lugs, dead front, and accessories in NEMA-1 Enclosure | 3 | set
5.7.4. | PP MAIN Main: 100AT MCCB, 3 Pole, 230V Branches: 3 - 50AT MCCB, 3 Pole, 230 V SPARE: 1 with busbar, grounding busbar, mechanical lugs, dead front, and accessories in NEMA-1 Enclosure | 1 | set
5.7.5. | PP1, PP2, and PP3 Main: 50AT MCCB, 3 Pole, 230V Branches: 12 - 20AT MCCB, 2 Pole, 230 V with busbar, grounding busbar, mechanical lugs, dead front, and accessories in NEMA-1 Enclosure | 3 | set
5.7.6. | PP ACCU MAIN Main: 150AT MCCB, 3 Pole, 230V Branches: 3 - 100AT MCCB, 3 Pole, 230 V SPARE: 1 with busbar, grounding busbar, mechanical lugs, dead front, and accessories in NEMA-1 Enclosure | 1 | set
5.7.7. | PP ACCU 1 Main: 100AT MCCB, 3 Pole, 230V Branches: 6 - 30AT MCCB, 2 Pole, 230 V 1 - 50AT MCCB, 3 Pole, 230 V with busbar, grounding busbar, mechanical lugs, dead front, and accessories in NEMA-1 Enclosure | 1 | set
5.7.8. | PP ACCU 2 & 3 Main: 100AT MCCB, 3 Pole, 230V Branches: 6 - 30AT MCCB, 2 Pole, 230 V 1 - 70AT MCCB, 3 Pole, 230 V with busbar, grounding busbar, mechanical lugs, dead front, and accessories in NEMA-1 Enclosure | 2 | set
5.7.9. | PP ACCU 1-1 Main: 100AT MCCB, 3 Pole, 230V Branches: 6 - 30AT MCCB, 2 Pole, 230 V with busbar, grounding busbar, mechanical lugs, dead front, and accessories in NEMA-1 Enclosure | 1 | set
5.7.10. | PP ACCU 2-1 Main: 100AT MCCB, 3 Pole, 230V Branches: 7 - 30AT MCCB, 2 Pole, 230 with busbar, grounding busbar, mechanical lugs, dead front, and accessories in NEMA-1 Enclosure | 1 | set
5.7.11. | PP ACCU 3-1 Main: 100AT MCCB, 3 Pole, 230V Branches: 9 - 30AT MCCB, 2 Pole, 230 with busbar, grounding busbar, mechanical lugs, dead front, and accessories in NEMA-1 Enclosure | 1 | set
5.7.12. | Elevator 70 AT, 3 Pole, 230V Molded Case Circuit Breaker in NEMA 1 Enclosure | 1 | set
5.7.13. | Booster pump 30 AT, 3 Pole, 230V Molded Case Circuit Breaker in NEMA 1 Enclosure | 1 | set
5.7.14. | Auxiliary Gutter G.I. 16 (1800 mm x 200 mm x 200 mm) | 1 | set
5.7.15. | Auxiliary Gutter G.I. 16 (2000 mm x 200 mm x 200 mm) | 2 | set
5.7.16. | 12" x 12" x 6" Metal Pullbox | 1 | set
5.7.17. | 3.5 mm² Cu. THHN/THWN (STR) | 19 | m
5.7.18. | 5.5 mm² Cu. THHN/THWN (STR) | 103 | m
5.7.19. | 8.0 mm² Cu. THHN/THWN (STR) | 337 | m
5.7.20. | 14 mm² Cu. THHN/THWN (STR) | 249 | m
5.7.21. | 22 mm² Cu. THHN/THWN (STR) | 278 | m
5.7.22. | 30 mm² Cu. THHN/THWN (STR) | 82 | m
5.7.23. | 50 mm² Cu. THHN/THWN (STR) | 11 | m
5.7.24. | 1" φ PVC Conduit | 17 | pc
5.7.25. | 1" φ IMC | 22 | pc
5.7.26. | 1 1/4" φ PVC Conduit | 31 | pc
5.7.27. | 1 1/2" φ IMC | 20 | pc
5.7.28. | 2" φ IMC | 1 | pc
5.7.29. | 2 1/2" φ IMC | 8 | pc
5.8 | Service Entrance and Main Feeder Line |  |  | 1 | lot
5.8.1. | Service Equipment Main: 400AT MCCB, 3 Pole, 230V with grounding busbar, mechanical lugs, dead front, and accessories in NEMA-4x Enclosure | 1 | set
5.8.2. | 150mm² THHN/THWN Cu. Wire (STR) | 1098 | m
5.8.3. | 50mm² THHN/THWN Cu. Wire (STR) | 5 | m
5.8.4. | 8.0 mm² Bare Copper Wire (STR) | 60 | m
5.8.5. | Heavy Duty Three Spool Secondary Rack | 1 | set
5.8.6. | Concrete Encasement including excavation and backfill | 1 | lot
5.8.7. | Service Entrance Concrete Pedestal with concrete pullbox including, excavation and backfill, reinforcement, gravel bedding, formworks, etc. | 1 | lot
5.8.8. | 1" φ PVC Conduit | 40 | pc
5.8.9. | 3" φ PVC Conduit | 120 | pc
5.8.10. | 1" φ Entrance Cap | 1 | set
5.8.11. | 3" φ Entrance Cap | 3 | set
5.8.12. | 3 m x 5/8" φ Copper Ground Rod with grounding clamp | 3 | set
5.8.13. | 18" x 5/8" φ Tapered Tip Air Terminal Rod with terminal base | 1 | set
Sub-Total
6 | Plumbing Works
6.1 | Plumbing Fixtures
6.1.1. | 3.50 m length x 0.60 m width Countertop Lavatory Sink with three (3) manual shutoff single handle type faucet S304 stainless finish and complete accessories (valve, p-trap, etc.) including granite finish porcelain tiles, structural & masonry works (Female Toilet) |  |  | 3 | set
6.1.2. | 2.70 m length x 0.60 m width Countertop Lavatory Sink with three (3) manual shutoff single handle type faucet S304 stainless finish and complete accessorie and complete accessories (valve, p-trap, etc.) including granite finish porcelain tiles, structural & masonry works (All Gender Toilet) |  |  | 1 | set
6.1.3. | 2.40 m length x 0.60 m width Countertop Lavatory Sink with two (2) manual shutoff faucet push button type chrome finish and complete accessories (valve, p-trap, etc.) including granite finish porcelain tiles, structural & masonry works (Male Toilet at Ground Floor) |  |  | 1 | set
6.1.4 | 2.00 m length x 0.60 m width Countertop Lavatory Sink with two (2) manual shutoff single handle type faucet S304 stainless finish and complete accessories (valve, p-trap, etc.) including granite finish porcelain tiles, structural & masonry works (Male Toilet at Second Floor) |  |  | 1 | set
6.1.5. | 2.35 m length x 0.60 m width with 82cm x 45cm x 22cm Stainless Kitchen Sink with retractable draining basket, gooseneck manual shutoff faucet S304 stainless finish and complete accessories (valve, p-trap, etc.) including granite finish porcelain tiles, structural & masonry works (Faculty Room) |  |  | 1 | set
6.1.6. | 2.28 m length x 0.60 m width with 82cm x 45cm x 22cm Stainless Kitchen Sink with retractable draining basket, gooseneck manual shutoff faucet S304 stainless finish and complete accessories (valve, p-trap, etc.) including granite finish porcelain tiles, structural & masonry works (Dean's Office) |  |  | 1 | set
6.1.7. | Water Closet Dual Flush, push button type w/ heavy duty stainless Bidet Faucet and complete accessories– 4/6 liters standard or equal water closet pan and cistern complete with heavy duty soft closing seat and cover (water saving) |  |  | 24 | set
6.1.8. | Wall Hung Lavatory with manual shutoff faucet handle bar type chrome finish and complete accessories (valve, p-trap, etc.) |  |  | 3 | set
6.1.9. | Wall Hung Urinal- (L 480 mm x W 335 mm x H 745 mm) top inlet urinal water saving w/ button type flush valve manual automatic shutoff and complete accessories (valve, etc.) |  |  | 12 | set
6.1.10. | 3.00 m x 0.90 m x 6mm Beveled Edge Lead Free Mirror with 16mmØ Stainless Mirror Holder (Female Lavatory) |  |  | 3 | set
6.1.11. | 2.70 m x 0.90 m x 6 mm Beveled Edge Lead Free Mirror with 16 mm Ø Stainless Mirror Holder (All Gender Lavatory) |  |  | 1 | set
6.1.12. | 2.40 m x 1.00 m x 6 mm Beveled Edge Lead Free Mirror with 16 mm Ø Stainless Mirror Holder (Male Lavatory at Ground Floor) |  |  | 1 | set
6.1.13. | 2.00 m x 1.00 m x 6 mm Beveled Edge Lead Free Mirror with 16 mm Ø Stainless Mirror Holder (Male Lavatory at Second Floor) |  |  | 1 | set
6.1.14. | 0.80 m x 0.90 m x 6 mm Beveled Edge Lead Free Mirror with 16 mm Ø Stainless Mirror Holder (Dean's Office and Faculty Room Toilet) |  |  | 2 | set
6.1.15. | 0.60 m x 0.80 m x 6 mm Beveled Edge Lead Free Mirror with 16 mm Ø S304 Stainless Mirror Holder (PWD Toilet) |  |  | 1 | set
6.1.16. | 150 mm x 150 mm Stainless Floor Drain |  |  | 35 | pc
6.1.17. | 4" Ø Aluminum Downspout Strainer |  |  | 25 | pc
6.1.18. | 25 mm ∅ Heavy-duty S304 Hosebibb with Thread |  |  | 9 | pc
6.1.19. | 32 mm Ø S304 Stainless Steel PWD L-Shaped Grab Bar |  |  | 1 | set
6.1.20. | Hardwares and Accessories |  |  | 1 | lot
Sub-Total
6.2 | Sanitary Pipe System |  |  | 1 | lot
6.3 | Vent Pipe System |  |  | 1 | lot
6.4 | Storm Drain System |  |  | 1 | lot
6.5 | Cold Water Supply System |  |  | 1 | lot
6.6 | Water Pump System |  |  | 1 | lot
6.7 | Septic Tank |  |  | 1 | lot
6.8 | Septic Tank 2 |  |  | 1 | lot
6.9 | Leaching Chamber 3 |  |  | 1 | lot
7 | Mechanical Works, Dry Stand Pipe |  |  | 1 | lot
| Total Bid Price | (State total amount of Bid in words) | [7 empty] | (Total amount in figres)
[Signature]
[Name of Authorized Signatory]
[Position/Title of Authorized Signatory]